## Sheet1
0 | 1 | 2 | 3 | 4
1. | Power Rating Class F | HP * | kW | _______________
| Power Rating Class B | HP * | kW | _______________
2. | RPM Speed |  |  | _______________
3. | Voltage Rating |  |  | _______________
4. | Manufacturer Specifics |  |  | _______________
| Manufacturer's Type |  |  | _______________
| Frame Size |  |  | _______________
| Serial Number(s) |  |  | _______________
| Enclosure Type |  |  | _______________
5. | Stator total temperature rise by resistance |  |  | _______________
6. | Stator temperature at full load /cooling medium temperature
| (ambient for air cooled and inlet water temperature for water cooled) |  |  | _______/_______
7. | Overload rating (% for number of hours) |  |  | _______________
8. | Full-voltage stator current at rated load |  |  | _______________
9. | Full-voltage stator current at overload rating |  |  | _______________
10. | Full-voltage locked rotor current, and power factor |  |  | _______________
11. | Base ohms for per unit (P.U.) values |  |  | _______________
12. | Transient reactance | X'(P.U.) |  | _______________
13. | Subtransient reactance | X"(P.U.) |  | _______________
14. | Equivalent circuit parameters | R1(P.U.) |  | _______________
|  | X1(P.U.) |  | _______________
|  | R2(P.U.) |  | _______________
|  | X2(P.U.) |  | _______________
|  | Xm(P.U.) |  | _______________
15. | Transient open-circuit time constant | (T' do) |  | _______________
16. | Transient short-circuit time constant | (T' d) |  | _______________
17. | Subtransient short-circuit time constant | (T" d) |  | _______________
18. | Percent starting torque in % of rated load with 100% voltage applied |  |  | _______________
19. | Percent minimum pull-up torque in % rated load with 100% voltage |  |  | _______________
supplied and RPM speed when this occurs
20. | Percent pullout torque in % of rated load with 100% voltage applied |  |  | _______________
21. | Power factor and efficiency at rated voltage and at 100% load, 75% | Power Factor |  | Efficiency
| load, and 50% load | 1/1 _________ |  | _______________
|  | 3/4 _________ |  | _______________
|  | 1/2 _________ |  | _______________
22. | Time to reach full speed with 100% voltage applied when connected |  |  | _______________
to load (see #34)
23. | Full data on required external cooling water flow and pressure drop | gpm * | l/s | _______________
| through motor heat exchanger | psi * | bar | _______________
24. | Bearing oil flow and pressure requirements, and viscosity | gpm * | l/s | _______________
| recommendation | psig * bar g |  | _______________
|  | ssu |  | _______________
25. | Reactions on foundations and motor shaft due to short circuits
| Torque: | lb-ft * N-m |  | _______________
| Net force, right: | lbs. * | kg | _______________
| Net force, left: | lbs. * | kg | _______________
26. | Allowable time at starting voltage (see #34) and locked rotor, for | first-seconds |  | _______________
| ambient temperature of 40°C (for first and second start) | second-seconds |  | _______________
27. | Maximum recommended capacitance at terminals for power factor |  |  | _______________
correction, 3 phase kvar
28. | X/R ratio with R at operating temperature |  |  | _______________
29. | Rotor WK2 | lb-ft2 * kg-m2 |  | _______________
30. | Rotor weight /Stator weight | lb * | kg | _______/_______
31. | No load current /No load reactive power | Amps/kVAR |  | _______/_______
32. | Maximum load inertia |  |  | _______________
33. | Minimum allowable terminal voltage on start |  |  | _______________
34. | Rotation (facing, ODE) |  |  | _______________
35. | Permissible consecutive starts with coast to rest | Ambient/Hot |  | _______/_______
36. | Restart time required after unsuccessful hot start | Minutes |  | _______________
37. | Total number of starts permissible in 24 hrs. |  |  | _______________
38. | Running/Stopped cool time constants (time for motor thermal | Seconds |  | ________/_______