## Sheet1
0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69
|  | INDUCTION MACHINE | JOB NO. | ITEM / TAG NO.
|  | API 541 5th Edition--DATASHEETS | PURCHASE ORDER NO.
|  | SI (metric) UNITS | REQ. / SPEC. NO.
|  | PURCHASER'S SELECTIONS | REVISION NO. DATE |  |  | BY
|  | Bold Italics = Indicate Default Selection | REV. DATE | PAGE | 1 | OF | 12 |  | Rev
1 | USER |  | APPLICATION | [6 empty] | Enclosure (4.4.1.2) Degree of Protection (4.4.1.2.1) IP Method of Cooling (4.4.1.2.1) |  | IC |  |  |  | Bearings: | Horizontal machines |  |  |  |  | Heaters: | Frame space heaters (5.4.1; 5.4.2; 5.4.3): Sheath material: Supplier decision | Other: | [5 empty] | Manufacturer Type / Model No. | Frame size / Designation | [6 empty] | USER | APPLICATION | [5 empty] | Bearings: | Type: Hydrodynamic (4.4.7.1.1) Antifriction (4.4.7.1.3) | AFBMA number(s): | [5 empty] | Heaters: | Single voltage design: Dual voltage design (if specified): | [5 empty] | Stator Coil Information [8.6.2 d), reference Annex G]: Coil dimensional drawing no.:
2 | LOCATION |  | SUPPLIER | [6 empty] | WP-II (Weather Protected Type II) (4.4.1.2.2) WP-I (Weather Protected Type I) (4.4.1.2.2) | DPG (Dripproof Guarded) (4.4.1.2.2) |  |  |  |  | Bearing type: | Hydrodynamic (4.4.7.1.1) Sleeve (4.4.7.1.1) Tilting pad (4.4.7.1.1) | [5 empty] | Single voltage design Operating voltage | Phase | [5 empty] | Qty. HP RPM (Synch.) Poles | Volts |  | Phase |  |  | Hz |  | LOCATION | SUPPLIER | [6 empty] | Split sleeve (4.4.7.1.1) | Drive end: | [6 empty] | Operating voltage kW Phase Operating voltages | kW Phase |  | Sheath material |  |  | Total copper weight: kg Copper strand size: Insulation:
3 | PROJECT NAME |  | SUPPLIER REF. No. | [6 empty] | Air filters: Required for WP-II (5.5.3) Provisions only for WP-I or DPG (5.5.2) | Provide filters for WP-I or DPG (5.5.4) | [5 empty] | Bearing constant-level oilers required (4.4.7.2.2) Type: | [5 empty] | Dual voltage design Operating voltages / | Phase | [5 empty] | Full Load speed RPM Insulation class F Temperature rise | Class B Service factor |  |  | 1.0 |  |  |  | PROJECT NAME | SUPPLIER REF. No. | [6 empty] | Tilting pad (4.4.7.1.1) Non-drive end: | [6 empty] | Frame heaters (5.4.1; 5.4.2; 5.4.3): | / | [5 empty] | Number of strands per coil turn: Number of turns per coil:
4 | SITE / PLANT |  | NUMBER of UNITS REQUIRED | [6 empty] | Air filter capability (5.5.4): 90% of particles > 10 micron Other: | [6 empty] | Antifriction (4.4.7.1.3) | [5 empty] | Bearing heaters (4.4.8.3): Operating voltage | Phase | [13 empty] | SITE / PLANT | NUMBER of UNITS REQUIRED | [5 empty] | Hydrodynamic bearings: | Oil rings included (4.4.8.1) Yes No | [6 empty] | Main t/box heaters: | / | [5 empty] | Turn insulation description:
5 | Applicable To: | Proposal Purchase As Designed As Built | MOTOR TAG No.(s) | [6 empty] | Purchaser specified filters: Manufacturer: Type: | Model: |  |  |  |  | Other: | [6 empty] | Main terminal box space heaters required: also see main terminal box section, page 5 | [6 empty] | Locked rotor torque (LRT) % FLT Pull-Up torque (PUT) % FLT | Breakdown torque (BDT) |  |  | % FLT |  |  |  |  | MOTOR TAG No.(s) | [5 empty] | Bearing, drive end: | Capable of self-lube Yes No Manufacturer | Model / part no. | [5 empty] | Bearing heaters (4.4.8.3): | / | [5 empty] | Ground-Wall insulation description:
Bold Italics = Indicate the Standard's Default Selection - Refer to Annex C for Datasheet Guidance
BASIC DESIGN - General
6 | Applicable Standards (1.3.2; 2.0): | North American (i.e., ANSI, NEMA) | IEC Use U.S. customary datasheets for N.A. Standards (NEMA, CSA, etc.) | [6 empty] | Differential pressure device (5.5.5): Provisions required for WP-II Differential pressure switch (5.5.5) |  |  | Combination |  |  | Bearings: | Vertical machines |  |  |  |  | For classified areas (5.4.2): | Temp.code (from pg.1): T3 used for labeled heaters if not specified | [6 empty] | Calculated Expected Data [8.1.3 f)] at the following Loads: For recip. comp., calc. eff. is based on pulsating current conditions from pg.6 | [7 empty] | Quantity | Type / Model no. Frame size / Designation Motor power: |  | Utility-Grid |  | ASD |  | Bore diameter: | Min mm Max mm Bore length | mm Type | [5 empty] | Temperature Detectors: | [6 empty] | Thickness turn insulation: m Thickness strand insulation: m Thickness groundwall insulation: |  |  |  | m
7 | Power / RPM ratings are specified by: | User/Project OEM | Other | [13 empty] | Thrust bearing load Momentary kg | Momentary |  | kg |  | Other | [7 empty] | Load Point 50% 75% 100% Other: % Area Classification (4.1.8): |  |  | Nonclassified |  |  |  |  | Nameplate power / RPM rating (4.2.1.1): | kW HP RPM Full Load | RPM synchronous |  |  | Poles |  | Design clearance with shaft: | Min mm Max mm | Bearing loading: |  |  |  | kPa |  | Winding Temperature Detectors (5.2): | RTD-Platinum, 3 Wire, 100 Ohms at 0°C (5.2.1.1) No.per phase (5.2.1.2): | Three (3) |  | Other |  |  | Coil configuration: Rows by Columns
8 | Nameplate power rating (4.2.1.1): | kW | HP Motor Speed: |  |  | RPM (Synchronous) |  |  |  | Purchaser specified device: Manufacturer: Type: | Model: | [10 empty] | Winding Temperature Detectors (5.2): | RTD - Platinum, 3 Wire, 100 Ohms at 0°C (5.2.1.1) | Other RTD Material: | [5 empty] | Efficiency % % % % | Classified: Class | Group |  | Zone |  |  |  | Nameplate Voltage/Ph/Hz rating (4.2.1.2): | Volts (4.2.1.2) Phase | Hertz |  |  |  |  | Bearing, non-drive end: | Capable of self-lube Yes No Manufacturer | Model / part no. | [5 empty] | Other RTD material: | Wires: Resistance: No.per phase (5.2.1.2): | Three (3) |  | Other |  |  | Finished coil dimension in slot, W x H x L (also give tolerances):
9 | Nameplate Voltage/Ph/Hz rating (4.2.1.2): | Volts | Phase | Hertz | [5 empty] | Enclosure for motors rated 6kV and above: [4.4.1.1 f)]: TEFC, TEAAC, or TEAAC (IP44 or higher) | or Use enclosure selected in line 2 |  |  |  |  | Other: | [5 empty] | Required number per phase (5.2.1.2): | Three (3) Other Wires: | Resistance: | [5 empty] | Power Factor % % % % | Ex label below (if applicable): |  |  | or Div. |  |  |  | Insulation class [4.3.1.1 a)]: Class F | Temperature rise [4.3.1.1 b)]: Class B | Enclosure (4.4.1.2): |  |  |  |  | Bore diameter: | Min mm Max mm Bore length | mm Type | [5 empty] | One common lead each element grounded in box. (5.2.1.2) | [6 empty] | Total number of stator slots: Winding Throw: | Winding connection:
O10 | Nameplate ambient temp. rating [4.3.1.1 b)]: | o 40 C Other: | O C Minimum Rated Operating Ambient Temp.(4.1.2): |  |  |  |  | C
11 | Stator insulation class [4.3.1.1 a)]: | Class F Other class: | [7 empty] | Heat exchanger tube Aluminum Alum. Alloy Copper Copper Alloy | Other |  |  |  |  | Other: | [5 empty] | Thermocouples: | Type: No. per phase: | Three (3) |  | Other |  |  |  | Guaranteed efficiencies [8.1.3 f)] at % Load = % Test method [8.1.3 f)]: | [7 empty] | Expected Data [8.1.3 f)] at the following Loads (100% Voltage): | [6 empty] | Special seals for gas purge [4.4.7.3 a)] | Non-conducting seals [4.4.7.3 b)] Other seal type | [6 empty] | Other | [6 empty] | Slot wedge material: | Magnetic slot wedges: |  | No |  |  | Yes
12 | Stator temperature rise [4.3.1.1 b)]*: | Class B Other: | * (See underlined sentences in Datasheet Guide for this item) | [18 empty] | Bearing Temperature Detectors (5.3): | RTD - Platinum, 3 Wire, 100 Ohms at 0°C; One (1) Per Bearing for Hydrodynamic & Thrust Bearings (5.3.1) | [6 empty] | Max. sound pressure level (4.1.3): 85 dBA @ 1 m. No-Load, Full Voltge/Frequency, Sine Wave Power | Other: |  |  |  |  | dBA |  | Load Point: | Locked-Rotor 50% 75% 100% Other: % | Data is: |  |  |  |  | Thrust Bearing: | Antifriction (4.4.7.1.5) Hydrodynamic (4.4.7.1.10) Bearing loading: |  | kPa |  |  |  |  | Recommended Settings: | Alarm: Shutdown: | [5 empty] | Stator bore diameter: Stress grading description if applicable:
13 | Duty (4.1.2): | S1 (Continuous) Other: | [7 empty] | TEWAC (4.4.1.2.4) Heat exchanger tube materials [4.4.10.8 b)]: 90-10 Cu-Ni Other | [5 empty] | Hydrodynamic Bearings: | Ring type self lubrication (4.4.8.1) |  |  |  |  | Other qty. per bearing | Dual element OK Install per API 670 (5.3.1) Ground one (1) common lead |  |  | Provisions only |  |  |  | Motor power source: Sine Wave Power ASD Power only ASD only w-bypass to utility power | [7 empty] | Efficiency: | % % % % % | Calculated | [5 empty] | Thrust bearing load Momentary Nm | Momentary |  |  |  | Nm |  | Bearing Temperature Detectors (5.3): | RTD - Platinum, 3 Wire, 100 Ohms at 0°C; One (1) Per Bearing for Hydrodynamic & Thrust Bearings (5.3.1) | [5 empty] | Special end-turn racing:
14 | Max. sound pressure level @ 1 m. @ no load, full voltage/frequency on sine wave power (4.1.3; 4.1.4): |  | 85 dBA | Other: |  |  |  | dBA |  | Cooling water conditions per 4.4.1.2.4 a): Water & glycol solution Other cooling water conditions or chemistry (attach documentation) | [5 empty] | Type/viscosity of oil (4.4.8.5; 4.4.8.8; 5.1.4.2) | Supplier decision Other, define: |  |  |  |  | Other RTD material: | Wires: Resistance: | Other info: | [5 empty] | ASD + DOL start capability ASD w-DOL start and bypass to utility power | [7 empty] | Power Factor: | % % % % % | Previously tested unit | [5 empty] | (4.4.7.1.11) Continuous Nm | Continuous |  |  |  | Nm |  | Other qty. per bearing | Dual element used Installed per API 670 (5.3.1) One (1) common lead grounded |  |  | Provisions only |  |  | Other:
15 | Voltage and frequency variations (4.2.1.3): | Per IEC Other: | [7 empty] | Cooler location-orientation [4.4.1.2.4 c)]: Supplier decision Above stator Other | [5 empty] | Pressurized lube required (4.4.8.4) | Common with driven equipment (4.4.8.5) |  |  |  |  | Thermocouples: | Type: | [6 empty] | Variable torque speed range: Min. speed RPM Nm Max. speed | RPM |  |  |  | Nm |  |  | Current: | Amps Amps Amps Amps Amps | Tested this order |  |  |  |  | Position: | Non-drive end Drive end Manufacturer Model / part no. | [6 empty] | Other RTD material: | Wires: Resistance: | Other info: |  |  |  |  | Rotor Information: Total conductor weight: kg Number of bars: | Strand or bar size:
16 | Motor power source: | Sine Wave Power ASD Power (complete below section) | Solid State Soft Starter - Complete data on page 6, line 8 | [6 empty] | Cooler inlet-outlet location (facing NDE): Supplier decision Right side Left side | Other |  |  |  |  | System supplied by (4.4.8.4): | Driven equipment supplier End user Motor supplier | Other |  |  |  | Oil temp. indicators (dial thermometers) (4.4.7.1.16) | Type: Alarm contacts | Number of contacts: |  |  | NO | NC |  | Constant torque speed range: Min. speed RPM Max. speed | RPM |  |  |  | Nm |  |  | Guaranteed efficiency [8.1.3 f)] | % Efficiency at % Load Efficiency determination test method [8.1.3 f)]: | [5 empty] | Hydrodynamic Bearing Ring Type Self Lubrication (4.4.8.1) | Constant-level oilers (4.4.7.2.2) | [6 empty] | Thermocouples: | Type: | [5 empty] | Conductor material: Ring material: Retaining ring alloy, if applicable:
17 | Adjustable Speed Drive (ASD) conditions, if applicable (4.1.4; 4.1.5; 4.2.1.2.3, 4.3.1.2): | [8 empty] | Tube construction [4.4.1.2.4 d); 4.4.10.8 c)]: Single tube Double tube Redundant coolers [4.4.1.2.4 b)] | [5 empty] | Lube System to comply with API 614 (4.4.8.6): | Part 3 General Purpose Part 2: Special Purpose | ISO 10438-1 |  |  |  | Location of terminations for bearing temp. det. (5.1.14): | Supplier decision Terminal head | T-box T-box with winding temp. det. | [5 empty] | Constant power speed range: Max. speed RPM Nm Avoiding lateral natural frequencies by at least 15% not | [7 empty] | For reciprocating loads [8.1.3 f)] | % Efficiency at % Load with % Current pulsation | Max. current variation [8.1.3 g)]: |  |  | A |  | Pressurized lube (4.4.8.1, 4.4.8.4) | Oil rings provided: Yes No Bearings designed to operate w/o lube system: |  |  | Yes |  | No |  | Dial type thermometers (4.4.7.1.16): | Type Alarm contacts | Number of contacts |  | NO | NC |  | Shaft material: Ring dimensions premachining:
18 |  | ASD only operation (4.2.4.5) ASD+DOL start capability | ASD only w-bypass to utility power | ASD w-DOL start & bypass to utility | [5 empty] | Leak detection [4.4.1.2.4 c)]: Required For double tube coolers: inner tube leak detection required | Outer tube detection also |  |  |  |  | Main oil pump driven by: | Supplier decision Separate, independent motor Main motor shaft |  |  |  |  | Antifriction bearings: | Use selections above when antifriction bearings are specified | [14 empty] | For motors operating on ASD power [8.1.3 f)]: | Base frequency(ies) and harmonics assumed in the supply waveform(s) [8.1.3 f)]: | [5 empty] | Common with driven eqpt. (4.4.8.4) | System supplied by (4.4.8.4): Driven eqpt. supplier | End user Motor supplier |  |  |  | Other |  | Antifriction bearings: | Above selections applied to antifriction bearings | [5 empty] | Notes:
19 |  | Variable Torque speed range: Min speed RPM | Nm Max. speed |  | RPM |  |  | Nm |  | Flow sensor with local indicator [4.4.1.2.4 g)]: Required Not required Relay contacts: | Norm.Open (NO) |  | Norm.closed (NC) |  |  | Other lube system information: | [5 empty] | Vibration Detectors (5.8) | [7 empty] | Base frequency(ies) and harmonics assumed present in the supply waveform(s) [8.1.3 f)]: | [7 empty] | Curve No.'s [8.1.3 a), b)]: | Speed-Torque Speed-Current | Speed-Power Factor |  |  |  |  | Motor only lube system | Required / recommended type/viscosity of oil (4.4.8.5; 4.4.8.8): | [6 empty] | Recommended Settings: | Alarm: Shutdown:
20 |  | Constant Torque speed range: Min speed RPM | Max. speed |  | RPM |  |  | Nm |  | Purchaser specified device: Manufacturer: Type: | Model: | [5 empty] | Meet cleanliness requirements of API 614 for 0.32 Liters/sec (19 LPM) & above capacity (6.2.3.2) |  |  |  |  | Non-contact Shaft Probes (5.8.1): | Motors operating at 1200 rpm and higher Motors operating at less than 1200 rpm | [6 empty] | Separately Powered Auxiliary Fan(s) (4.4.10.6.3): Driver Information (where applicable) | [8 empty] | When specified: Calculated rotor-response curve no. [8.6.2 b)]: Acceleration curve No. | [5 empty] | Total bearing oil requirements (8.1.4): | L/s LPM kPa Heat loss to be removed per bearing |  |  |  |  | kW |  | Enclosure Accessories
21 |  | Constant Power speed range: Max speed RPM | Nm | [6 empty] | Cooler air inlet & outlet temperature sensor [4.4.1.2.4 h)]: Required Not required | Same as winding |  | Other |  |  | Purge oil mist (4.4.7.4.1) (describe or attach requirements): | [5 empty] | Shaft probes (X-Y) (5.8.1): | Provisions required Installed | Provisions | Installed |  |  |  |  | Quantity Location Encl. HP RPM | Volts |  | Phase |  | Hertz |  |  | Acceleration time [8.1.3 d)]: | At rated voltage: sec. At minimum starting voltage/MVA: | sec. At | % Voltage |  | Sec |  | Motor prepared for supplemental purge oil mist (4.4.7.4.1) | Other lube system information: | [6 empty] | WP-II, WP-I, DPG/ODP (4.4.1.2.2) | Air filters: Provided (5.5.4): Required for WP-II (5.5.3) | Air filters not provided (5.5.4)
22 | ASD description and information affecting motor design (obtain from ASD Supplier; refer to Datasheet Guide) | [8 empty] | Purchaser specified device: Manufacturer: Type: | Model: |  |  |  |  | Antifriction Bearings: | Grease type: Supplier decision Other |  |  |  |  | Phase reference probe (5.8.1): | Provisions required Installed | Provisions | Installed |  |  |  |  | Quantity Location Encl. HP RPM | Volts |  | Phase |  | Hertz |  |  | Thermal capacity / limit curve no. (4.2.4.2) | Rotor inertia [8.1.3 c)] | 2 Nm |  | 2 GR | 2GD |  | Antifriction bearings: | Grease Type: | [6 empty] | Filter capability (5.5.4): | 90% of particles > 10 micron Other | Air filter provisions only (5.5.2)
23 | ASD type / topology: | [8 empty] | System of units for hardware (1.3.1): SI (Metric) U.S. / North American customary | [5 empty] | Pure oil mist (4.4.7.4.1; 4.4.7.4.5) | Oil mist ready or Oil mist provisions only (bearing grease removal may be required - see guide) |  |  |  |  | Number per bearing (X-Y) (5.8.2): | Two (2) Four (4) | Two (2) | Four (4) |  |  |  |  | TEAAC Heat Exchanger Tube Material [4.4.10.8 a)]: | [7 empty] | Locked-Rotor withstand time, cold [4.2.4.2 a); 8.1.3 e)] | at 100% Voltage Sec at 80% Voltage | Sec at |  | % Voltage | Sec |  | Pure oil mist (4.4.7.4.5) | Oil mist ready or Oil mist provisions only | [6 empty] | Filter manufacturer: | Type: | Model:
24 | ASD output harmonics, describe and/or attach data (4.3.1.2): | [8 empty] | Hardware-fasteners material [4.4.1.1 c)]: Stainless Steel 300 Series through M12 (1/2 in.) | SS 316 series through M12 for offshore |  |  |  |  | Vertical Motor Bearings: | Thrust bearing: Supplier decision Grease lubrication Oil Sump lubrication |  |  |  |  | Provide two (2) axial-position probes for hydrodynamic thrust bearings at the thrust end (5.8.2): | Provisions Required |  | Installed |  |  |  |  | TEWAC Heat Exchanger Requirements (4.4.1.2.4): Tube materials [4.4.10.8 b)]: 90-10 Cu-Ni | Other tube material: | [6 empty] | Locked-Rotor withstand time, hot [4.2.4.2 b); 8.1.3 e)] | at 100% Voltage Sec at 80% Voltage | Sec at |  | % Voltage | Sec |  |  | Grease removal required before operation with oil mist? |  | Yes |  | No |  |  | Differential pressure device (5.5.5): | Provisions Required for WP-II Provisions only supplied | Device not provided
25 | ASD maximum voltage spike amplitude and rise-time at drive output (4.3.1.2.1): |  |  | Volts @ |  | microseconds |  |  |  | Provision for pre-start purging [4.4.1.1 e)]: Purchaser specified purge details: | [6 empty] | Guide bearing: Supplier decision Other: |  |  |  |  | Probe lead protection (5.8.1.1): Conduit | Other: | [6 empty] | Cooling water conditions per 4.4.1.2.4 a) Other cooling water conditions: | [7 empty] | Starting Capability (4.2.4.1): | Consecutive successful starts with : Locked-Rotor current at | 100 % Voltage |  |  | Amps |  | Vertical motor bearings: | Thrust bearing: Guide bearing: Mfgr. recommended lubricant: | [7 empty] | Differential pressure switch provided (5.5.5): Differential pressure gauge provided (5.5.5) | Combination switch / gauge provided
26 | ASD Maximum common mode voltage (CMV) at drive output (4.3.1.2.2): |  |  | Volts | [5 empty] | Field piping connection sizes (4.4.3.1): Supplier std. Other: | [5 empty] | Other: | [5 empty] | Manufacturer of probes, oscillator-demodulator: | Supplier decision Purchaser defined, type: | [15 empty] | Motor initially at ambient temperature 3 Locked-Rotor current at | 80 % Voltage |  |  | Amps |  |  | Oil sump lubrication Oil sump lubrication Type/viscosity of oil: | [7 empty] | Device manufacturer: Type: | Model:
27 | Other ASD information / motor requirements: | [8 empty] | Duct gaskets/bolts provided by (4.4.3.8): Supplier std. Other: | [5 empty] | Shaft and spider one piece forging for 4 or more poles [4.4.5.1.4; 4.4.5.1.2 b)] | [5 empty] | Probes provided by: | Supplier Other: Installed By: | Supplier Other: | [5 empty] | Bearings (4.4.7.1): Hydrodynamic (4.4.7.1.1) Sleeve (4.4.7.1.1) Tilting pad (4.4.7.1.1) | Antifriction (horizontal) (4.4.7.1.3) | [7 empty] | Motor temp. above ambient but not exceeding rated operating temperature 2 Locked-Rotor current at | % Voltage |  |  | Amps |  |  | Grease lubrication Grease lubrication Grease type: | [6 empty] | Recommended Settings for Differential Pressure Switch: | Alarm: | Shut-Down:
28 | Area Classification (4.1.8): | Nonclassified Classified as: | Class Group Division |  | or | Zone |  |  |  | Auxiliary motor driven fans (4.4.10.6.3): Yes No Ph / Volts.: Phase |  | Volts |  |  |  | Special lower vibration limits, define (6.3.3.12): | [5 empty] | Oscillator-Demodulator By: | Supplier Other: Installed By: | Supplier Other: | [5 empty] | Antifriction thrust bearing (vertical) (4.4.7.1.5) Hydrodynamic thrust bearing (vertical) (4.4.7.1.10) | [7 empty] | Wait time after all consecutive starts exhausted [4.2.4.2 d), e)]: | With motor running Minutes | With motor stopped |  |  | Minutes |  | Non-contact Shaft Probes (5.8.1): | Number per bearing: TWO (2) (5.8.1) Four (4) (5.8.2) | [6 empty] | TEAAC Enclosure (4.4.1.2.3) | Heat exchanger tube materials [4.4.10.8 a)]:
29 |  | Temperature code (T-code): | [7 empty] | Paint system: Supplier's paint system Purchaser specified paint system Paint system spec. no.: | [5 empty] | Efficiency evaluation factor (8.1.2), EF = | cost / kW C = cost / KWH | applied at % of full load |  |  |  | Location of terminations (5.1.14): | Supplier decision In osc.-demodulators box In sensor housing | Other: | [5 empty] | Thrust bearing load Momentary kg | Momentary |  |  |  |  | kg |  | Max. Sound Pressure Level (4.1.3) | 85 dBA @ 1 m., no-load Other: | [6 empty] | Shaft Probes: Provisions Installed Manufacturer: | Model: | [5 empty] | TEWAC Enclosure (4.4.1.2.4) | Heat exchanger tube materials [4.4.10.8 b)]: 90-10 Cu-Ni Other
30 | Explosion protection labeled motors: | Not Required Required (per below selections) |  | Required per above Division 1 selection | [5 empty] | Paint color: Supplier's paint color Purchaser specified paint color Define paint color and code: | [5 empty] | Test method for expected and guaranteed efficiency data [8.1.3 f)]: | [5 empty] | Bearing Housing Seismic Sensors: | Manufacturer: | [6 empty] | [4.4.7.1.11 a)] Continuous kg | Continuous |  |  |  |  | kg |  | Induction Motor Equivalent Circuit Data: | Phase-to-Phase resistance Ohms, @ | °C |  |  |  |  | Phase reference probe (5.8.1): | Provisions Installed Manufacturer: | Model: | [5 empty] | Tube construction [4.4.1.2.4 d); 4.4.10.8 b), c)]: | Single tube Double tube
31 | Basis of label: | Supplier decision Ex (Canada) | EEx (CENELEC) AEx (US) | Other | [5 empty] | Mounting: Horizontal foot mounted Horizontal flange mounted with feet Vertical foot mounted | [5 empty] | Local codes, define (4.1.8): | [5 empty] | Sensor: | Installed Provisions only Per API 670 (5.8.3) Supplier decision | Purchaser defined: | [5 empty] | Lubrication (4.4.8): Ring Type Self Lubrication (4.4.8.1) Machine bearings require pressure lube system | Yes |  |  | No |  |  |  |  | kVA gase at rated voltage and 25°C Subtransient reactance X"d Total winding capacitance to ground |  |  |  | uF |  | Oscillator-Demodulators: | Provisions Installed Manufacturer: | Model: | [6 empty] | Leak detection [4.4.1.2.4 c)]: Required Double tube leak detection: Inner tubes only | Outer also
32 | Type required: | Ex n (non-sparking) Ex e (increased safety) | Ex d (flameproof) | Ex p (pressurization) |  | Other |  |  |  | Vertical flange mounted Shaft down Shaft up Solid shaft | Hollow shaft Non-reverse ratchet (NRR) |  |  |  |  | External loads imposed on motor enclosure when connected at installation site, define (4.4.4): | [5 empty] | Vibration switch: | Installed Provisions only Per API 670 (5.8.3) Supplier decision | Purchaser defined: | [5 empty] | Pressurized lube system (4.4.8.4) Common with driven equipment (4.4.8.5) System supplied by (4.4.8.4): | Others |  |  | Motor supplier |  |  |  | Locked-Rotor at rated voltage: | Stator R Rotor R | Magn R |  |  |  |  | Bearing Housing Seismic Sensors (5.8.3): | Per API 670 (5.8.3) | [6 empty] | Cooler location/orientation [4.4.1.2.4 c)]: |  | Redundant coolers [4.4.1.2.4 b)]
33 |  | Other: | [7 empty] | Vertical Motor to carry thrust (if selected, complete applicable area of Bearing &/or Driven Equipment / OEM section, pg. 6, lines 39 and 40) | [11 empty] | Device provided by: | Supplier Other: Installed by: | Supplier Other: | [5 empty] | Type/viscosity of oil (4.4.8.5; 4.4.8.8; 5.1.4.2): Oil rings included | Yes |  |  | No |  |  |  |  | Stator X Rotor X | Magn X | [5 empty] | Sensor: Provisions Installed Type: Manufacturer: | Model: | [5 empty] | Water flow (LPM): | Max Min Water pressure (kPa): Max | Min
34 | Site Data (4.1.2; 4.4.8.3; 4.4.10.4): | OSite ambient temperature: | O Max C | Min C | [5 empty] | Flange type / bolt circle: Supplier decision Other: | [5 empty] | Special overspeed requirement (4.1.5, 4.4.5.2.7): | [5 empty] | Define mounting / hole size if purchaser defines device: | If switch, type: | Manual reset |  | Electric reset |  |  |  | Oil requirements per bearing (8.1.4): Flow: L/s LPM Pressure: | kPa Volume: |  |  |  | Liters |  |  | Rated load at rated voltage: | Stator R Rotor R | Magn R |  |  |  |  | Vibration Switch: | Provisions Installed Type: Manufacturer: | Model: | [5 empty] | Flow sensor local indicator provided [4.4.1.2.4 g)] | Provisions only Manufacturer: | Type: |  | Model:
O35 | Minimum rated storage ambient temp.(4.1.2): |  | C Site elevation: | meters
36 | Relative humidity: | % Max % Min | Use this higher elevation for motor rating: |  |  | meters |  |  |  | Baseplate: furnished by (4.4.2.6): Soleplate: furnished by (4.4.2.6): | [5 empty] | Notes / Other Requirements: | [5 empty] | N.D.E. bearing | Qty.: Position(s): Horizontal Vertical Axial Other: | [6 empty] | Oil mist provisions (4.4.7.4) (see Guide): Purge oil mist, hydrodynamic brg's Pure oil mist, antifriction brg's | Oil mist ready, antifriction brg's. | [7 empty] | Residual Voltage Open-Circuit Time Constant: Motor Only sec. With Surge Capacitors |  |  | sec. |  |  | N.D.E. bearing | Qty.: Position(s): Horizontal Vertical Axial Other: | [7 empty] | High flow alarm set point L/sec LPM Low flow shutdown set point |  | L/sec | LPM
O37 | Motor location: | Indoor Building temperature controlled: | No Yes Controlled temp.: | C |  | Use for motor rating
38 |  | Outdoor Roof over motor: | No Yes Offshore platform / similar marine environment [4.4.1.1 c)] | [6 empty] | Data for non-massive system dynamic analysis required from machine vendor per 4.4.6.1.3 a), b), c), d) | [11 empty] | Other Monitors and Devices | [7 empty] | Magnetic stator slot wedges used (4.3.10): Yes No | [8 empty] | Vertical flange mounted Shaft down Shaft up Solid shaft Hollow shaft | Non-reverse ratchet | [5 empty] | Alarm Shutdown m (micrometers) | Other | [5 empty] | Sensor type:
39 |  | Seismic loading (4.4.2.2), IBC Zone: Importance Factor: | Other Seismic Requirements: | [6 empty] | Electrical System: Primary power source Volts Phase Hertz | Maximum ground fault |  |  | Amps | [7 empty] | Monitor to alarm for shaft grounding brush replacement (4.4.7.1.9) | Describe: | [6 empty] | When enclosure pre-start purging is specified, vendor defined maximum allowable pressure [4.4.1.1 e)]: | [8 empty] | Flange type: Flange bolt circle diameter: | [5 empty] | Frequency of shaft resonance closest to operating speed: | Hertz | [6 empty] | Cooling water conditions per 4.4.1.2.4 a) | Water/Glycol solution Other cooling water conditions (purchaser specified)
40 | Unusual Site Conditions, Define: | [8 empty] | Method of system grounding (5.6.2.3) Resistance Reactance Ungrounded | Solid | [10 empty] | Other monitors or devices: | [7 empty] | Low ambient temperature precautions (4.4.10.4): | [8 empty] | Soleplate furnished with motor Baseplate furnished with motor Adapter plate furnished with motor | [13 empty] | When enclosure pre-start purging is specified, supplier defined max. allowable pressure [4.4.1.1 e)]:
41 |  | Additional environment considerations, chemicals, etc. (4.1.2): | [7 empty] | 3-Phase fault Current at machine terminals (5.1.2) MVA Let-through energy (5.1.2.1): | 2I t (Ampere-squared seconds) | [10 empty] | Alarm and Control Switches (5.6.1): | SPDT 10 Amp 120VAC & 125VDC Other: | [6 empty] | Special winterizing requirements (8.1.15): | [7 empty] | Weights: | Motor net: kg Stator kg Rotor | kg Shipping |  |  | kg
42 |  | Abrasive dust protection for open enclosures [4.4.1.2.2 c)]: | [7 empty] | Min S.C. at motor bus [4.2.3.2 c)] MVA at V base X/R ratio: | Min.motor term. start voltage |  |  | % rated | [7 empty] | Auxiliary Equipment T-Boxes (5.1.4.1): | Location of aux. boxes (facing non-drive end): Left side | Right side | Other: |  |  |  |  | Machine net weight (8.1.5): kg
43 |  | Corrosive agents in environment, re: stress corrosion cracking (4.4.10.1.2): | [7 empty] | Other information: | [11 empty] | Stainless Steel aux. boxes/encl. (5.1.4.1) | Cond./cable entry (5.1.4.1, 5.1.13): Bottom | Left or Right side facing non-drive end | [5 empty] | Special tools included in proposal (4.1.11, 8.1.13):
44 | Other: | [20 empty] | Accessory Equipment Wiring Outside Enclosure (5.1.11): Rigid Conduit | Other: | [6 empty] | Machine proposed is in strict compliance with API 541 5th edition? (8.1.9) Yes No | List of applicable exceptions attached